## Slide 1
Basics of Floodplain Regulations
Break
Reconvene at 2:45

## Slide 2
New Buildings
Definition of “building”
Residential buildings
Enclosures and crawlspaces
Non-residential buildings
Manufactured homes and RVs
Accessory buildings

## Slide 3
5-27
“Building” and “structure”
Walled and roofed
Gas/liquid storage tanks
Principally above ground
Manufactured homes

## Slide 4
Building rules apply:
Construction of a new building
Substantial improvement
Repairing substantial damage
Placing a manufactured home on a site
Placing a recreational vehicle or travel trailer on a site for more than 180 days

## Slide 5
  Residential buildings
  Lowest floor > BFE
5-27

## Slide 6
    Freeboard

## Slide 7
5-31
How high? Where is the “Lowest floor?”

## Slide 8
5-31
How high? Where is the “Lowest floor?”
Elevation Certificate
Section C2
Top of bottom floor
Top of next higher floor
Slab

## Slide 9
5-31
How high? Where is the “Lowest floor?”
Elevation Certificate
Section C2
Top of bottom floor
Top of next higher floor
C2.b
Crawlspace

## Slide 10
5-31
How high? Where is the “Lowest floor?”
Elevation Certificate
Section C2
Top of bottom floor
Top of next higher floor
Bottom of lowest horizontal structural member (V Zones only)
Piers, pilings

## Slide 11
  Anchoring
  Flood > 5 feet per second
  Coastal waves
  Manufactured homes
    Get engineer’s/architect’s
    statement that anchoring
    is adequate for the conditions
5-42

## Slide 12
5-32
Enclosures and crawlspaces
Problem: damageable materials
  Allowable uses:
  Building access
  Vehicle parking
  Storage of materials with low damage potential

## Slide 13
5-43
Enclosures and crawlspaces
Allowable uses

## Slide 14
BFE
Enclosures and crawlspaces
Elevate or protect
utilities

## Slide 15
Elevation Certificate

## Slide 16
Duct work
+ freeboard
+ freeboard

## Slide 17
BFE
Polling Question

## Slide 18
5-32
Enclosures and crawlspaces
Problem: water pressure on walls
  Let the water in to
  Equalize pressure

## Slide 19
  Below the lowest floor
    Area used only for parking, storage, or building access
    AND
    Designed to automatically equalize hydrostatic flood forces
    BY
      Design certified by a registered professional engineer
      OR
      2 openings, total net area > 1 square inch for every square foot of enclosed area
      AND
      The bottom of all openings shall be no higher than one foot above grade
5-43

## Slide 20
5-33
Openings
X
‾ Max 1 foot
> 2 openings
1 in2 opening for each ft2 of floor area

## Slide 21
5-33
Openings
X
‾ Max 1 foot
2 walls
1 in2 opening for each ft2 of floor area

## Slide 22
Elevation Certificate

## Slide 23
5-32
Enclosures and crawlspaces
Problem: water pressure increases with depth

## Slide 24
Crawlspaces
OK
Basement
Lowest Floor

## Slide 25
Elevation Certificate

## Slide 26
Crawlspaces

## Slide 27
BFE
Polling Question

## Slide 28
Nonresidential buildings
    Elevated like a residential building
    OR
    Dry floodproofed to the base flood elevation plus ___ feet.
5-38

## Slide 30
Manufactured homes
Defined in “Definitions”
Elevated like a residence
With Elevation Certificate
Securely anchored
Not in a floodway on the FIRM
5-45

## Slide 32
Recreational vehicles
5-48
Defined in “Definitions”
Be on site < 180 days
OR
Be licensed and on wheels
OR
Meet the requirements for manufactured homes

## Slide 33
Accessory structures
5-44
Defined
< 500 square feet
Used only for parking and storage in relation to the principal building
Exempt from elevation requirement if
Resistant to flood damage below BFE + freeboard
Utilities above BFE + freeboard
Meets all crawlspace and opening requirements
Variance needed if not specified in the ordinance

## Slide 34
Accessory structures
5-44

## Slide 35
Questions?